# Climate station at Älvsborgsbron

Latest updated: 06/07/2013

- Measurement period

October, 1998 to now

- Characteristics of the station

  - Location – The station is located on Älvsborgsbron Bronze northen piers.

  - Altitude – 120 feet above sea level

  - Longitude – 11.901476°

  - Latitude – 57.691201°

- Setup

- Standard time (UTC+1) is used for all year

- Sampling frequency is 10 seconds.

- Averages are saved every 10 minutes and 60 minutes.

- History of changes

- 16th March, 2013 – WXT210 is installed.

- April, 2013 – only 10 minutes averaged data are available.

- Data list

Header types

  - Code Year DOY HHMM Ws_100masl Wd_100masl Wd_sd_100masl Ws_45masl Wd_45masl Wd_sd_45masl Ws_5masl Wd_5masl Wd_sd_5masl Ta_100masl Ta_45masl Ta_5masl MaxHourlyWind100masl MaxHourlyWind45masl MaxHourlyWind5masl Waterlevel

  - Code Year DOY HHMM Ws_100masl Wd_100masl Wd_sd_100masl Ta_100masl Ta_45masl Ta_5masl Waterlevel H_Max100

  - Datenum Year DOY HHMM Ws_100masl Wd_100masl Wd_sd_100masl Ws_45masl Wd_45masl Wd_sd_45masl Ws_5masl Wd_5masl Wd_sd_5masl Ta_100masl Ta_45masl Ta_5masl MaxHourlyWind100masl MaxHourlyWind45masl MaxHourlyWind5masl Waterlevel

  - TableID YYYY DOY HHMM     Wd_min     Wd_avg        Wd_max    Ws_min    Ws_avg       Ws_max       Ta       RH           P   R_amount    R_time R_intens             H_amount              H_time           H_intens      temp2  temp3 temp1 Waterlevel Ws_vec_avg Wd_vec_avg  Wd_vec_SD     Wd_min_SD     Wd_SD Wd_max_SD    Ws_min_SD    Ws_SD Ws_max_SD       Ta_SD      RH_SD      P_SD R_amount_SD            R_time_SD         R_intens_SD        H_amount_SD  H_time_SDH_intens_SD temp2_SD temp3_SD temp1_SD Waterlevel_SD

  - Jday YYYY DOY HHMM     Wd_min     Wd_avg        Wd_max    Ws_min    Ws_avg       Ws_max       Ta       RH           P   R_amount    R_time R_intens             H_amount              H_time           H_intens      temp2         temp3         temp1    Waterlevel    Ws_vec_avg    Wd_vec_avg     Wd_vec_SD     Wd_min_SD     Wd_avg_SD     Wd_max_SD     Ws_min_SD     Ws_avg_SD     Ws_max_SD         Ta_SD         RH_SD          P_SD   R_amount_SD     R_time_SD   R_intens_SD   H_amount_SD     H_time_SD   H_intens_SD      temp2_SD      temp3_SD      temp1_SD Waterlevel_SD

Missing data are shown as -9999 in files.

Note that some of existing files might have all -9999, empty data.

- 10 minutes averaged data files list

(‘a’ – a file with header ‘a’ type exists and empty cells - no file)

| YEAR | January | Feburary | March | April | May | June | July | August | September | October | November | December |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1998 |  |  |  |  |  |  |  |  |  | a | a | a |
| 1999 | a | a | a | a | a | a | a | a | a | a | a | a |
| 2000 | a | a | a | a | a | a | a | a | a | a | a | a |
| 2001 | a | a | a | a | a | a | a | a | a | a | a | a |
| 2002 | a | a | a | a | a | a | a | a | a | a | a | a |
| 2003 | a | a | a | a | a | a | a | a | a | a |  |  |
| 2004 | a | a | a | a | a | a | a | a | a | a | a | a |
| 2005 | a | a | a | a | a | a | a | a | a | a | a | a |
| 2006 | a | a | a | a | a | a | a | a | a | a | a | a |
| 2007 | a | a | a | a | a | a | a | a | a | a | a | a |
| 2008 | a | a | a | a | a | a | a | a | a | a | a | a |
| 2009 | a | a | a | a | a | a | a | a | a |  |  |  |
| 2010 |  |  |  |  |  |  |  |  |  |  |  |  |
| 2011 |  |  |  |  |  |  |  |  |  |  |  |  |
| 2012 |  |  |  |  |  |  |  |  |  |  |  |  |
| 2013 |  |  |  | e | e |  |  |  |  |  |  |  |

- 60 minutes averaged data files list

| YEAR | January | Feburary | March | April | May | June | July | August | September | October | November | December |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1998 | a | a | a | a | a | a | a | a | a | a | a | a |
| 1999 | a | a | a | a | a | a | a | a | a | a | a | a |
| 2000 | a | a | a | a | a | a | a | a | a | a | a | a |
| 2001 | a | a | a | a | a | a | a | a | a | a | a | a |
| 2002 | a | a | a | a | a | a | a | a | a | a | a | a |
| 2003 | a | a | a | a | a | a | a | a | a | a |  |  |
| 2004 | a | a | a | a | a | a | a | a | a | a | a | a |
| 2005 | a | a | a | a | a | a | a | a | a | a | a | a |
| 2006 | a | a | a | a | a | a | a | a | a | a | a | a |
| 2007 | a | a | a | a | a | a | a | a | a | a | a | a |
| 2008 | a | a | a | a | a | a | a | a | a | a | a | a |
| 2009 | a | a | a | a | a | a | a | a | a |  |  |  |
| 2010 |  |  |  |  |  |  |  |  | a | a | a | a |
| 2011 |  |  |  | b | b | b | b | b | c | c | c | c |
| 2012 | d | d | d | d | d | d | d | d | d | d | d | d |
| 2013 | d |  | d |  |  |  |  |  |  |  |  |  |